## StockValuation63858799778866887
Stock Register
As on date 09-08-2024
SRA MORWADI
Page 1 of 1
Total Records: 212 Records 1 to 212
Project_Name | Store_Name | Material_Name | Qty | Unit | Brand | Rate | Amount
SRA MORWADI | MORWADI COMMON | 10 Amp S/P MCB (IH21P0C010) | 8 | No. |  | 109.6513 | 877.21
SRA MORWADI | MORWADI COMMON | 12 Module GI Concealed Box | 90 | No. |  | 121.7703 | 10959.33
SRA MORWADI | MORWADI COMMON | 2 Module GI Concealed Box | 194 | No. |  | 35.8051 | 6946.18
SRA MORWADI | MORWADI COMMON | 2.5 sqmm flat cable | 30 | Mtrs |  | 76.4583 | 2293.75
SRA MORWADI | MORWADI COMMON | 3 Module GI Concealed Box | 139 | No. |  | 50.1151 | 6966
SRA MORWADI | MORWADI COMMON | 4 Module GI Concealed Box | 42 | No. |  | 62.0819 | 2607.44
SRA MORWADI | MORWADI COMMON | 4 POLE 40AMP 30MA RCCB (IH2R440030) | 11 | No. |  | 1710.3645 | 18814.01
SRA MORWADI | MORWADI COMMON | 4 POLE 40AMP MCB (IH24P0C040) | 5 | No. |  | 1041.672 | 5208.36
SRA MORWADI | MORWADI COMMON | 4+2 POE Switch | 1 | No. |  | 2678.36 | 2678.36
SRA MORWADI | MORWADI COMMON | 40mm GI pipe 1.5" x 6"mtr | 41 | No. |  | 2426.3049 | 99478.5
SRA MORWADI | MORWADI COMMON | 411851 DX3 DP RCCB 25A 30MA | 1 | No. |  | 1818.77 | 1818.77
SRA MORWADI | MORWADI COMMON | 5 x 5 Camera Termination Box | 6 | No. |  | 39.1027 | 234.616
SRA MORWADI | MORWADI COMMON | 507791 DP Enclosure Box | 5 | No. |  | 455.696 | 2278.48
SRA MORWADI | MORWADI COMMON | 507793 40amp 4way Enclosuer Box | 3 | No. |  | 415.7567 | 1247.27
SRA MORWADI | MORWADI COMMON | 6 Module GI Concealed Box | 139 | No. |  | 76.3959 | 10619.03
SRA MORWADI | MORWADI COMMON | 8 Module GI Concealed Box | 98 | No. |  | 102.6649 | 10061.16
SRA MORWADI | MORWADI COMMON | 8 Module MS Plate | 28 | No. |  | 116.9064 | 3273.378
SRA MORWADI | MORWADI COMMON | Alu Armd Cable 25sqmm x 4core | 75 | Mtrs |  | 238.1139 | 17858.54
SRA MORWADI | MORWADI COMMON | Alu Armd. Cable 120sqmm x3.5C | 10 | Mtrs |  | 649.687 | 6496.87
SRA MORWADI | MORWADI COMMON | Anchor Fastner 10mmx75mm | 110 | No. |  | 16.52 | 1817.2
SRA MORWADI | MORWADI COMMON | Anchor Fastner 16mm x 100mm | 260 | No. |  | 50.74 | 13192.4
SRA MORWADI | MORWADI COMMON | ASTM Ball Valve 1" | 12 | No. |  | 112.835 | 1354.02
SRA MORWADI | MORWADI COMMON | ASTM Ball Valve 1-1/4" | 6 | No. |  | 145.7767 | 874.66
SRA MORWADI | MORWADI COMMON | ASTM Ball Valve 1/2" | 51 | No. |  | 57.3845 | 2926.61
SRA MORWADI | MORWADI COMMON | ASTM Brass FTA 1" | 12 | No. |  | 118.2298 | 1418.758
SRA MORWADI | MORWADI COMMON | ASTM Brass FTA 2" | 6 | No. |  | 285.9763 | 1715.858
SRA MORWADI | MORWADI COMMON | ASTM Brass MTA 1" | 12 | No. |  | 222.17 | 2666.04
SRA MORWADI | MORWADI COMMON | ASTM Brass MTA 1" | 6 | No. |  | 117.5807 | 705.484
SRA MORWADI | MORWADI COMMON | ASTM Brass MTA 2" | 6 | No. |  | 355.7863 | 2134.718
SRA MORWADI | MORWADI COMMON | ASTM Elbow 1" | 24 | No. |  | 22.44 | 538.56
SRA MORWADI | MORWADI COMMON | ASTM Elbow 1/2" | 10 | No. |  | 7.015 | 70.15
SRA MORWADI | MORWADI COMMON | ASTM Elbow 11/4" | 7 | No. |  | 24.4664 | 171.265
SRA MORWADI | MORWADI COMMON | ASTM End Cap 2" | 12 | No. |  | 29.6575 | 355.89
SRA MORWADI | MORWADI COMMON | ASTM Pipe 1" x 10fts | 61 | No. |  | 293.2018 | 17885.308
SRA MORWADI | MORWADI COMMON | ASTM Pipe 2" x 10fts | 25 | No. |  | 687.4112 | 17185.28
SRA MORWADI | MORWADI COMMON | ASTM Reducer Tee 1" x 1/2" | 10 | No. |  | 20.155 | 201.55
SRA MORWADI | MORWADI COMMON | ASTM Reducer Tee 11/4" x 1/2" | 12 | No. |  | 33.1253 | 397.504
SRA MORWADI | MORWADI COMMON | ASTM Socket 1" | 90 | No. |  | 10.1342 | 912.08
SRA MORWADI | MORWADI COMMON | ASTM Socket 1/2" | 10 | No. |  | 5.305 | 53.05
SRA MORWADI | MORWADI COMMON | ASTM Socket 11/4" | 24 | No. |  | 16.8703 | 404.888
SRA MORWADI | MORWADI COMMON | ASTM Socket 2" | 20 | No. |  | 41.68 | 833.6
SRA MORWADI | MORWADI COMMON | ASTM Sollution (Black) 472ml | 12 | No. |  | 301.475 | 3617.7
SRA MORWADI | MORWADI COMMON | ASTM Tee 1" | 6 | No. |  | 20.8283 | 124.97
SRA MORWADI | MORWADI COMMON | ASTM Tee 1-1/2" | 24 | No. |  | 47.9083 | 1149.8
SRA MORWADI | MORWADI COMMON | ASTM Tee 1/2" | 10 | No. |  | 8.999 | 89.99
SRA MORWADI | MORWADI COMMON | Barricating Tape | 5 | ROLL |  | 238.264 | 1191.32
SRA MORWADI | MORWADI COMMON | Base Dia Without Glass 450mm | 1 | No. |  | 3835 | 3835
SRA MORWADI | MORWADI COMMON | Binding Wire | 1104.24 | Kgs |  | 80.4306 | 88814.6446
SRA MORWADI | MORWADI COMMON | Black Insulation Tape | 94 | No. |  | 10.6549 | 1001.56
SRA MORWADI | MORWADI COMMON | Brown Tape 2" | 72 | No. |  | 29.5983 | 2131.08
SRA MORWADI | MORWADI COMMON | Busbar with SFU 250 Amp. | 2 | No. |  | 43090.295 | 86180.59
SRA MORWADI | MORWADI COMMON | Cast Nylon Rod OD100MM x L200MM | 17 | No. |  | 721.3653 | 12263.21
SRA MORWADI | MORWADI COMMON | Cast Nylon Rod OD125mm x L200mm | 12 | No. |  | 1082.0542 | 12984.65
SRA MORWADI | MORWADI COMMON | Cast Nylon Rod OD200MM x L200MM | 15 | No. |  | 2624.1047 | 39361.57
SRA MORWADI | MORWADI COMMON | Cast Nylon Rod OD65MM x L200MM | 34 | No. |  | 334.5456 | 11374.55
SRA MORWADI | MORWADI COMMON | Cement Loose 53 Grade | 304.8082 | Metric Tonnes |  | 7480.4097 | 2280090.2009
SRA MORWADI | MORWADI COMMON | Chain | 20 | No. |  | 389.0285 | 7780.57
SRA MORWADI | MORWADI COMMON | COMPUTER | 5 | No. |  | 49855 | 249275
SRA MORWADI | MORWADI COMMON | Control Panel | 1 | No. |  | 7843.63 | 7843.63
SRA MORWADI | MORWADI COMMON | Cotton Hand Gloves (Electrcian) | 7 | Pair |  | 14.7 | 102.9
SRA MORWADI | MORWADI COMMON | Curing Pipe 3/4" | 1 | Bundle |  | 1060.04 | 1060.04
SRA MORWADI | MORWADI COMMON | D-link CAT 6 cable | 305 | Mtrs |  | 47.0157 | 14339.779
SRA MORWADI | MORWADI COMMON | DAILY REPORT BOOK | 15 | No. |  | 130 | 1950
SRA MORWADI | MORWADI COMMON | Diesel | 158 | Ltrs |  | 93.52 | 14776.16
SRA MORWADI | MORWADI COMMON | Diesel Pump | 1 | No. |  | 1711 | 1711
SRA MORWADI | MORWADI COMMON | Enclosure Box 20 Amp 2 Pole IHPMESD0002 | 9 | No. |  | 360.5789 | 3245.21
SRA MORWADI | MORWADI COMMON | Enclosure Box 40 Amp 4 Pole IHPMESD0004 | 10 | No. |  | 415.906 | 4159.06
SRA MORWADI | MORWADI COMMON | Enclosure Box 4P for MCCB 100A (507801) | 2 | No. |  | 2851.47 | 5702.94
SRA MORWADI | MORWADI COMMON | Fabricated Box | 1 | No. |  | 855.46 | 855.46
SRA MORWADI | MORWADI COMMON | Fan Box | 161 | No. |  | 42.0984 | 6777.84
SRA MORWADI | MORWADI COMMON | Fire Bucket | 20 | No. |  | 243.036 | 4860.72
SRA MORWADI | MORWADI COMMON | Fire Bucket Stand | 6 | No. |  | 1785.895 | 10715.37
SRA MORWADI | MORWADI COMMON | Fire Exting. Refilling ABC 6Kg | 3 | No. |  | 514.5433 | 1543.63
SRA MORWADI | MORWADI COMMON | Fire Extinguisher ABC 4Kg | 1 | No. |  | 889.16 | 889.16
SRA MORWADI | MORWADI COMMON | Fire Extinguisher ABC 6Kg | 4 | No. |  | 944 | 3776
SRA MORWADI | MORWADI COMMON | Fire Extinguisher CO2 (4.5kg) | 2 | No. |  | 4272.78 | 8545.56
SRA MORWADI | MORWADI COMMON | Flex.Copper Wire 4 Sqmm 4core | 360 | Mtrs |  | 209.473 | 75410.28
SRA MORWADI | MORWADI COMMON | Flex.Copper Wire 6 Sqmm 4core | 200 | Mtrs |  | 335.4554 | 67091.07
SRA MORWADI | MORWADI COMMON | Flexible Cable 1.5 Sqmm 2 core | 200 | Mtrs |  | 49.5926 | 9918.53
SRA MORWADI | MORWADI COMMON | Flexible Cable 2.5 Sqmm - 3 core | 200 | Mtrs |  | 112.4133 | 22482.65
SRA MORWADI | MORWADI COMMON | Float Sensor 3M | 1 | No. |  | 645.42 | 645.42
SRA MORWADI | MORWADI COMMON | Foam Sheet 20mm ( 3'x6') - Sq.Ft | 6655.7 | Sq.Ft |  | 11.7917 | 78481.985
SRA MORWADI | MORWADI COMMON | Fuel pipe | 1 | No. |  | 997.7 | 997.7
SRA MORWADI | MORWADI COMMON | Gate Pass Book | 11 | No. |  | 105 | 1155
SRA MORWADI | MORWADI COMMON | GI Clips 2" | 24 | No. |  | 2.95 | 70.8
SRA MORWADI | MORWADI COMMON | GI Raceway 300mmx200mm (1.2mm thk) - No. | 14 | No. |  | 397.7186 | 5568.06
SRA MORWADI | MORWADI COMMON | GP2 Waterproofing Chemical | 210 | Kgs |  | 20.65 | 4336.5
SRA MORWADI | MORWADI COMMON | Green Hose Pipe | 100 | R.Ft |  | 108.8765 | 10887.65
SRA MORWADI | MORWADI COMMON | GumBoot | 6 | Pair |  | 227.2333 | 1363.4
SRA MORWADI | MORWADI COMMON | Halogen 200 Watt | 34 | No. |  | 3109.7406 | 105731.18
SRA MORWADI | MORWADI COMMON | Hand Gloves (Rubber) | 17 | Pair |  | 29.1459 | 495.48
SRA MORWADI | MORWADI COMMON | Helmet Blue for Electrician | 5 | No. |  | 159.3 | 796.5
SRA MORWADI | MORWADI COMMON | Helmet Green for Safety | 1 | No. |  | 159.3 | 159.3
SRA MORWADI | MORWADI COMMON | Helmet Grey for Visitors | 10 | No. |  | 162.486 | 1624.86
SRA MORWADI | MORWADI COMMON | Helmet Red for Security Person | 1 | No. |  | 159.3 | 159.3
SRA MORWADI | MORWADI COMMON | Helmet White for Engg | 7 | No. |  | 162.4843 | 1137.39
SRA MORWADI | MORWADI COMMON | Helmet Yellow for Labours | 8 | No. |  | 161.69 | 1293.52
SRA MORWADI | MORWADI COMMON | Hold Fast Patti 75mm | 380 | No. |  | 3.8604 | 1466.94
SRA MORWADI | MORWADI COMMON | Installation Charges | 1 | No. |  | 2627.32 | 2627.32
SRA MORWADI | MORWADI COMMON | Insulation Tape | 8 | No. |  | 10.7525 | 86.02
SRA MORWADI | MORWADI COMMON | IP 65 DB | 2 | No. |  | 30081.15 | 60162.3
SRA MORWADI | MORWADI COMMON | Issue Slip Book | 24 | No. |  | 44.8479 | 1076.35
SRA MORWADI | MORWADI COMMON | Joint Kit | 1 | No. |  | 191.16 | 191.16
SRA MORWADI | MORWADI COMMON | Kiltan ( Hessian Cloth ) | 869 | Mtrs |  | 26.3474 | 22895.87
SRA MORWADI | MORWADI COMMON | LAPTOP | 3 | No. |  | 56640 | 169920
SRA MORWADI | MORWADI COMMON | LED Tube 18Watt 4ft - No. | 25 | No. |  | 237.9116 | 5947.79
SRA MORWADI | MORWADI COMMON | LED Tube Light 18w Cool Day light | 20 | No. |  | 240.649 | 4812.98
SRA MORWADI | MORWADI COMMON | M.C.B. FP 40A (408700) | 2 | No. |  | 1826.775 | 3653.55
SRA MORWADI | MORWADI COMMON | M.C.B. SP 10 Amp.(408590) | 5 | No. |  | 183.374 | 916.87
SRA MORWADI | MORWADI COMMON | MCB DP 20 AMP (408634) No. | 1 | No. |  | 588.6 | 588.6
SRA MORWADI | MORWADI COMMON | MCCB 100A 4Pole (420015) | 2 | No. |  | 4502.7 | 9005.4
SRA MORWADI | MORWADI COMMON | MCCB 100A 4Pole (420055) | 4 | No. |  | 6547.23 | 26188.92
SRA MORWADI | MORWADI COMMON | Metacolour Sheet 7fts x 3fts6" | 176 | No. |  | 1216.5724 | 214116.75
SRA MORWADI | MORWADI COMMON | Metacolour Sheet 8fts x 3fts6" | 387 | No. |  | 1390.3684 | 538072.57
SRA MORWADI | MORWADI COMMON | MS Aldrop 10" | 18 | No. |  | 109.3772 | 1968.79
SRA MORWADI | MORWADI COMMON | MS Hinges 4" - No. | 87 | No. |  | 19.3025 | 1679.32
SRA MORWADI | MORWADI COMMON | MS Planks 2400x300 .. | 506 | No. |  | 1792.669 | 907090.5
SRA MORWADI | MORWADI COMMON | MS plate 12module | 4 | No. |  | 154.931 | 619.724
SRA MORWADI | MORWADI COMMON | MS plate 2module | 20 | No. |  | 62.6041 | 1252.082
SRA MORWADI | MORWADI COMMON | MS plate 3module | 18 | No. |  | 78.5241 | 1413.434
SRA MORWADI | MORWADI COMMON | MS plate 4module | 2 | No. |  | 103.988 | 207.976
SRA MORWADI | MORWADI COMMON | MS plate 6module | 17 | No. |  | 108.2366 | 1840.022
SRA MORWADI | MORWADI COMMON | MS Square Pipe 40mmx40mm 2mm thk | 980 | Mtrs |  | 168.866 | 165488.64
SRA MORWADI | MORWADI COMMON | MS Square Pipe 40mmx40mmx1.6mm | 1996 | Mtrs |  | 150.745 | 300887.02
SRA MORWADI | MORWADI COMMON | Nitobond SBR (Latex) | 19 | Ltrs |  | 224.2 | 4259.8
SRA MORWADI | MORWADI COMMON | Pad Lock 65mm | 20 | No. |  | 112.9435 | 2258.87
SRA MORWADI | MORWADI COMMON | Phawada | 2 | No. |  | 123.9 | 247.8
SRA MORWADI | MORWADI COMMON | Plastic (Transperent) | 52.56 | Kgs |  | 127.58 | 6705.6048
SRA MORWADI | MORWADI COMMON | Plastic Sheet Black | 203.2 | Kgs |  | 84.8015 | 17231.66
SRA MORWADI | MORWADI COMMON | Plier 8" | 2 | No. |  | 276.92 | 553.84
SRA MORWADI | MORWADI COMMON | Plumbing Materials | 1 | No. |  | 2520.33 | 2520.33
SRA MORWADI | MORWADI COMMON | Plumbing Nails 2.5" | 10 | Kgs |  | 82.95 | 829.5
SRA MORWADI | MORWADI COMMON | Potato Greece | 624 | Kgs |  | 156.94 | 97930.56
SRA MORWADI | MORWADI COMMON | PP Rope 12mm Dia. kg | 83.172 | Kgs |  | 173.6 | 14438.6592
SRA MORWADI | MORWADI COMMON | PP Rope 4mm Dia. | 29.98 | Kgs |  | 179.0712 | 5368.555
SRA MORWADI | MORWADI COMMON | PRINTER HP LaserJet Pro M126nw | 2 | No. |  | 21379.24 | 42758.48
SRA MORWADI | MORWADI COMMON | Puddle Flange 200mm dia | 4 | No. |  | 9550.92 | 38203.68
SRA MORWADI | MORWADI COMMON | Puddle Flange 80mm dia. | 25 | No. |  | 4029.8184 | 100745.46
SRA MORWADI | MORWADI COMMON | PVC 2 way Deep junction Bx. 1" | 708 | No. |  | 14.6233 | 10353.31
SRA MORWADI | MORWADI COMMON | PVC 2 way Junction Box 1" (25mm) | 334 | No. |  | 10.3333 | 3451.316
SRA MORWADI | MORWADI COMMON | PVC 2 way junction Bx. 1" | 15 | No. |  | 9.8247 | 147.37
SRA MORWADI | MORWADI COMMON | PVC 3 way Deep junction Bx. 1" | 411 | No. |  | 20.2403 | 8318.758
SRA MORWADI | MORWADI COMMON | PVC 3 way Junction Box 1" (25mm) | 165 | No. |  | 12.5149 | 2064.96
SRA MORWADI | MORWADI COMMON | PVC 3 way junction Bx. 1" | 17 | No. |  | 10.8582 | 184.59
SRA MORWADI | MORWADI COMMON | PVC 4 way Deep junction Bx. 1" | 312 | No. |  | 19.8319 | 6187.56
SRA MORWADI | MORWADI COMMON | PVC 4 way Junction Box 1" (25mm) | 26 | No. |  | 12.7623 | 331.82
SRA MORWADI | MORWADI COMMON | PVC 4 way junction Box. 1" | 25 | No. |  | 12.8456 | 321.14
SRA MORWADI | MORWADI COMMON | PVC Agri Pipe 110mm x 20fts 4KG | 4.5 | No. |  | 1056.34 | 4753.53
SRA MORWADI | MORWADI COMMON | PVC Agri Pipe 63mm x 20fts 4KG | 1.5 | No. |  | 370.8 | 556.2
SRA MORWADI | MORWADI COMMON | PVC Agri Pipe 75mm x 20fts 4KG | 2 | No. |  | 525.9 | 1051.8
SRA MORWADI | MORWADI COMMON | PVC Bend 1" (25mm) - | 205 | No. |  | 7.8435 | 1607.915
SRA MORWADI | MORWADI COMMON | PVC Conduit Bend 1" | 1414 | No. |  | 8.3357 | 11786.63
SRA MORWADI | MORWADI COMMON | PVC Conduit Pipe 1" mtrs | 23217 | Mtrs |  | 22.5022 | 522433.1875
SRA MORWADI | MORWADI COMMON | PVC Conduit Pipe 1" Nos | 416 | No. |  | 69.0775 | 28736.23
SRA MORWADI | MORWADI COMMON | PVC Conduit Socket 1" | 2009 | No. |  | 3.7446 | 7522.8775
SRA MORWADI | MORWADI COMMON | PVC Copper Wire 1.5 Sqmm black | 660 | Mtrs |  | 18.4209 | 12157.79
SRA MORWADI | MORWADI COMMON | PVC Copper Wire 1.5 Sqmm red | 660 | Mtrs |  | 18.4209 | 12157.79
SRA MORWADI | MORWADI COMMON | PVC Copper Wire 2.5 Sqmm black | 540 | Mtrs |  | 29.8918 | 16141.57
SRA MORWADI | MORWADI COMMON | PVC Copper Wire 2.5 Sqmm green | 740 | Mtrs |  | 28.6377 | 21191.93
SRA MORWADI | MORWADI COMMON | PVC Copper Wire 2.5 Sqmm red | 300 | Mtrs |  | 24.8779 | 7463.38
SRA MORWADI | MORWADI COMMON | PVC Copper Wire 2.5 Sqmm red | 540 | Mtrs |  | 29.8918 | 16141.55
SRA MORWADI | MORWADI COMMON | PVC Copper Wire 4 Sqmm black | 200 | Mtrs |  | 46.4936 | 9298.72
SRA MORWADI | MORWADI COMMON | PVC Copper Wire 4 Sqmm red | 200 | Mtrs |  | 46.4936 | 9298.72
SRA MORWADI | MORWADI COMMON | PVC Elbow 1 " | 92 | No. |  | 2.7138 | 249.67
SRA MORWADI | MORWADI COMMON | PVC P Trap 4" | 1 | No. |  | 174.77 | 174.77
SRA MORWADI | MORWADI COMMON | PVC Pipe 2" x 10 ft S/S | 8 | No. |  | 198.795 | 1590.36
SRA MORWADI | MORWADI COMMON | PVC Pipe 4" x 10 Ft S/S | 1 | No. |  | 660.92 | 660.92
SRA MORWADI | MORWADI COMMON | PVC Socket 1" | 866 | No. |  | 3.1611 | 2737.544
SRA MORWADI | MORWADI COMMON | PVC Solvent (100 ml.) | 2 | No. |  | 44.07 | 88.14
SRA MORWADI | MORWADI COMMON | PVC Solvent (250 ml.) Elect. - | 237 | No. |  | 64.3714 | 15256.03
SRA MORWADI | MORWADI COMMON | RCC Chamber Cover with Frame 18"x24" (MD) | 1 | No. |  | 1426.61 | 1426.61
SRA MORWADI | MORWADI COMMON | RCC Chamber Cover With frame 2' x 2' (HD) | 5 | No. |  | 3119.944 | 15599.72
SRA MORWADI | MORWADI COMMON | RCC Hume Pipe 6" | 50 | Mtrs |  | 298.9674 | 14948.37
SRA MORWADI | MORWADI COMMON | RCCB 2 Pole 25 Amp IH2R225030 | 5 | No. |  | 1244.856 | 6224.28
SRA MORWADI | MORWADI COMMON | Reflecting Jackets Red for Labours | 6 | No. |  | 48.195 | 289.17
SRA MORWADI | MORWADI COMMON | Reflective Jacket (Orange) | 10 | No. |  | 47.25 | 472.5
SRA MORWADI | MORWADI COMMON | RJ 45 Connector | 1 | Box |  | 515.08 | 515.08
SRA MORWADI | MORWADI COMMON | Round Plain Glass 10mm (800x800) | 1 | No. |  | 1255.36 | 1255.36
SRA MORWADI | MORWADI COMMON | S/S Combine box 15 Amp. | 44 | No. |  | 155.215 | 6829.46
SRA MORWADI | MORWADI COMMON | Safety Belt Full Body | 2 | No. |  | 1112.41 | 2224.82
SRA MORWADI | MORWADI COMMON | Safety Jacket | 5 | No. |  | 236.524 | 1182.62
SRA MORWADI | MORWADI COMMON | Safety Net 10mtr x 6mtr | 1200 | Sq.m. |  | 83.0698 | 99683.81
SRA MORWADI | MORWADI COMMON | Safety Net 6x10 mtr | 2280 | Sq.m. |  | 81.9 | 186732
SRA MORWADI | MORWADI COMMON | Safety shoes | 1 | No. |  | 1354.05 | 1354.05
SRA MORWADI | MORWADI COMMON | Sand-Metal Mix M30 (Pumpable) | 21.517 | Cu.Mtrs |  | 3581.1064 | 77054.6672
SRA MORWADI | MORWADI COMMON | Screw Driver Set | 1 | No. |  | 598.59 | 598.59
SRA MORWADI | MORWADI COMMON | Self Tapping 25x8 | 4 | Box |  | 649 | 2596
SRA MORWADI | MORWADI COMMON | Shuttering oil-oil based | 485 | Ltrs |  | 171.1 | 82983.5
SRA MORWADI | MORWADI COMMON | Snake Stick 5ft to 6ft | 1 | No. |  | 1744.2 | 1744.2
SRA MORWADI | MORWADI COMMON | Soft Board 8ftx4ft | 2 | No. |  | 4861.6 | 9723.2
SRA MORWADI | MORWADI COMMON | SPN DB DD 12 Way | 14 | No. |  | 1516.0993 | 21225.39
SRA MORWADI | MORWADI COMMON | Steel Bar 25mm | 8286.258 | Kgs |  | 60.6629 | 502668.2439
SRA MORWADI | MORWADI COMMON | Steel Bars 10mm | 11483.627 | Kgs |  | 61.9987 | 711970.0114
SRA MORWADI | MORWADI COMMON | Steel Bars 12mm | 8594.58 | Kgs |  | 59.2686 | 509388.394
SRA MORWADI | MORWADI COMMON | Steel Bars 16mm | 42406.51 | Kgs |  | 61.3072 | 2599825.3526
SRA MORWADI | MORWADI COMMON | Steel Bars 20mm | 31790.963 | Kgs |  | 60.8878 | 1935683.1282
SRA MORWADI | MORWADI COMMON | Steel Bars 8mm | 53407.82 | Kgs |  | 62.4939 | 3337663.3648
SRA MORWADI | MORWADI COMMON | Tape Roll | 158 | No. |  | 30.8551 | 4875.1
SRA MORWADI | MORWADI COMMON | Teflon Tape | 10 | No. |  | 33.76 | 337.6
SRA MORWADI | MORWADI COMMON | Tikav with handle | 1 | No. |  | 100 | 100
SRA MORWADI | MORWADI COMMON | Transfer challan | 11 | No. |  | 105 | 1155
SRA MORWADI | MORWADI COMMON | Transport Charges | 1 | No. |  | 1168.2 | 1168.2
SRA MORWADI | MORWADI COMMON | Tubelight 20W LED Tube | 19 | No. |  | 237.9126 | 4520.34
SRA MORWADI | MORWADI COMMON | Tubelights set 20 watts 4 ft | 4 | No. |  | 235.65 | 942.6
SRA MORWADI | MORWADI COMMON | UPVC Elbow 1/2" | 9 | No. |  | 6.4967 | 58.47
SRA MORWADI | MORWADI COMMON | UPVC Pipe 1/2" | 19.67 | R.Ft |  | 119.5263 | 2351.0817
SRA MORWADI | MORWADI COMMON | UPVC Reducer Socket 1" x 1/2" | 1 | No. |  | 9.418 | 9.418
SRA MORWADI | MORWADI COMMON | UPVC Socket 1/2" | 7 | No. |  | 4.895 | 34.265
SRA MORWADI | MORWADI COMMON | UPVC Tee 1/2" | 11 | No. |  | 8.3276 | 91.604
SRA MORWADI | MORWADI COMMON | Water Tank 10000 Lit | 2 | No. |  | 56994 | 113988
SRA MORWADI | MORWADI COMMON | Water Tank 5000 Lit | 1 | No. |  | 23499.7 | 23499.7
SRA MORWADI | MORWADI COMMON | White Board 3'X4' | 5 | No. |  | 2526.816 | 12634.08